## Sheet1
Summary of Disinfectants
Practical requirements
Disinfectants | Practical Requirements | [5 empty] | Inactivates
Type | Category | Use Dilution | Contact Time |  | Temp (C) | Relative Humidity | Vegetative bacteria | Lipovirus | Nonlipid Viruses | Bacterial Spores
|  |  | Lipovirus | Broad
Spectrum
Liquid | Quaternary | 0.1%–2.0% | 10 | Not |  |  | + | +
| ammonium |  |  | effective
compounds
| Phenolics | 1.0%–5.0% | 10 | Not |  |  | + | + | Variable results dependent on virus
effective
| Chlorine | 500 ppm | 10 | 30 |  |  | + | + | + | +
compounds
| Iodphor | 25–1600 ppm (available halogen) | 10 | 30 |  |  | + | + | + | +
| Alcohol, | 70%–85% | 10 | Not |  |  | + | + | Variable results dependent on virus
| Ethyl |  |  | effective
| Alcohol, | 70%–85% | 10 | Not |  |  | + | + | Variable results dependent on virus
| isopropyl |  |  | effective
| Formaldehyde | 0.2%–8.0% | 10 | 30 |  |  | + | + | + | +
| Glutaraldehyde | 2% | 10 | 30 |  |  | + | + | + | +
Gas | Ethylene oxide | 8–23 g/cubic foot | 60 | 60 | 37 | 30 | + | + | + | +
| Paraformaldehyde | 0.3 g/cubic foot | 60 | 60 | gt;23 | gt;60 | + | + | + | +
Note: The chart below provides guidelines for surface decontamination only. For chemical disinfection of liquid biohazardous waste, the only university-wide approved disinfectant for UCSD is bleach (1 part bleach to 9 parts liquid waste, 30 min. contact time, followed by sewering). If your laboratory wishes to inquire on the use of alternative disinfectants to inactivate liquid biohazardous waste, please send an email with the following information:
◦ Material to be disinfected
◦ Chemical to be used
◦ Concentration of chemical
◦ Contact time
◦ Disposal method (sewering, hazardous waste pickup)
You will receive a response within five (5) working days regarding approval.
Important: These charts are intended for use by University of California San Diego researchers only. Standards and requirements may differ at other institutions and businesses.

## Sheet2
Important characteristics
Disinfectants |  | Important characteristics
Type | Category | Effective Shelf Life | Corrosive | Flammable | Explosion Potential | Residue | Inactivated by Organic Matter | Compatible for Optics* | Compatible for Electronics | Skin Irritant | Eye Irritant | Respiratory Irritant | Toxic
|  | >1 week protected from light and air | [5 empty] | (see below for special considerations) |  |  |  |  | By skin or mouth, or both. Refer to manufacturer's literature and "The Merck Index."
Liquid | Quaternary | + |  |  |  |  | + | + |  | + | + |  | +
ammonium
compounds
| Phenolic | + | + |  |  | + |  |  |  | + | + |  | +
compounds
| Chlorine |  | + |  |  | + | + |  |  | + | + | + | +
| Iodophor | + | + |  |  | + | + |  |  | + | + |  | +
| Alcohol, | + |  | + | [6 empty] | + |  | +
ethyl
| Alcohol, | + |  | + | [6 empty] | + |  | +
isoprophyl
| Formaldehyde | + |  |  |  | + |  |  |  | + | + |  | +
| Glutaraldehyde | + |  |  |  | + |  | + |  | + | + |  | +
Gas | Ethylene | N/A |  | + | + |  |  | + | + | + | + | + | +
| Oxide |  |  | Neither flammable nor explosive in 90% CO2, or fluorinated hydrocarbon, the usual form | Neither
flammable nor explosive in 90% CO2, or fluorinated hydrocarbon, the usual form
| Parafor- | N/A |  | + | + |  |  | + | + | + | + | + | +
| maldehyde |  |  | At concentrations of 7%-73% by volume in air, solid-exposure to open flame | At concentrations of 7%-73% by volume in air, solid-exposure to open flame
* Special considerations (compatible for optics): Usually compatible, but consider interferences from residues and effects on associated materials such as mounting. Return to Compatible with Optics

## Sheet3
Potential applications
Disinfectants |  | Potential applications
Type | Category | Work Surfaces | Dirty Glassware | Large | Air handling systems | Portable Equipment Surface | Portable Equipment Penetrating Decon | Fixed Equipment Surface | Fixed Equipment Penetrating Decon | Optical Instruments | Electronic Instruments | Liquids for Discard | Books, Papers
Area
Decon
Liquid | Quaternary | + | + |  |  | + |  | +
ammonium
compounds
| Phenolic | + | + |  |  |  |  | +
Compounds
| Chlorine | + | + |  |  | + |  | + |  |  |  | +
| Iodophor | + | + |  |  | + |  | +
| Alcohol, | + | + |  |  | + |  | +
ethyl
| Alcohol | + | + |  |  | + |  | +
isoprophyl
| Formaldehyde | + | + |  |  | + |  | +
| Glutaraldehyde | + | + |  |  | + |  | +
Gas | Ethylene | [5 empty] | + |  |  | + | + |  | +
oxide
| Parafor– |  |  | + | + |  | + |  | + | + | +
maldehyde

## Sheet4
Examples of proprietary disinfectants
Disinfectants |  | Examples of
Type | Category | proprietary disinfectants
Liquid | Quaternary ammonium compounds | A-33, CDQ, End-Bac, Hi-Tor, Mikro-Quat
| Phenolic compounds | Hil-Phene, Matar, Midro-Bac, O-Syl
| Chlorine compounds | Cholramine T, Chlorox, Purex
| Iodophor | Hy-sine, Ioprep, Mikroklene, Wescodyne
| Alcohol, ethyl | N/A
| Alcohol, isoprophyl | N/A
| Formaldehyde | Sterac
| Glutaraldehyde | Cidex
Gas | Ethylene oxide | Carboxide, Cryoxicide, Steroxicide
| Parafomaldehyde | N/A