UCSD OFFICE SAFETY INSPECTION

Injury & Illness Prevention Program

University of California, San Diego

Location ___________________________  Date____________ Phone

Supervisor __________________________ Department

Inspector ___________________________ Job title

- Administration and training:

Yes No 	N/A 	1.	Are all safety records maintained in a centralized file for easy access?

Are they current?

Yes No 	N/A 	2.	Have all employees attended Injury & Illness Prevention Program

training? If not, what percentage has attended?

Yes No 	N/A 	3.	Does the department have a completed Emergency Action Plan?

Are employees being trained on its contents?

Yes No 	N/A 	4.	Are chemical products used in the office being purchased in small

quantities? Are Material Safety Data Sheets needed?

Yes No 	N/A 	5.	Are the Cal/OSHA information poster, Workers’ Compensation bulletin,

annual accident summary (must be posed during February, at a

minimum), and Emergency Response Guide flipchart posted? Is Safety

Briefs newsletter being received and posted?

Yes No 	N/A 	6.	Are annual workplace inspections being performed and documented?

2.	General safety:

Yes No 	N/A 	7.	Are exits, fire alarms, pullboxes, and sprinklers clearly marked and

unobstructed?

Yes No 	N/A 	8.	Are aisles and corridors unobstructed to allow unimpeded evacuations?

Yes No 	N/A 	9.	Is a clearly identified, unobstructed, charged, currently inspected and

tagged, wall-mounted fire extinguisher available within 75 feet of all

work areas? For extinguisher service, contact PPS at (858) 534-2930.

Yes No 	N/A 	10.	Are ergonomic issues being addressed for employees using computers?

Yes No 	N/A 	11.	Is a fully stocked first-aid kit available? Is its location known to all

employees in the area?

Yes No 	N/A 	12.	Are cabinets, shelves, and furniture over five feet tall secured to

prevent toppling during earthquakes?

Yes No 	N/A 	13.	Are books and heavy items and equipment stored on low shelves and

secured to prevent them from falling on people during earthquakes?

Yes No 	N/A 	14.	Is the office kept clean of trash and recyclable materials promptly

removed?

- Electrical safety:

Yes No 	N/A 	15.	Are plugs, cords, electrical panels, and receptacles in good condition?

No exposed conductors or broken insulation?

Yes No 	N/A 	16.	Are circuit breaker panels accessible and labeled?

Yes No 	N/A 	17.	Are fused power strips being used in lieu of receptacle adapters?

Are additional outlets needed in some areas?

Yes No 	N/A 	18.	Is lighting adequate throughout the work environment?

Yes No 	N/A 	19.	Are extension cords being used correctly? They must not run through

walls, doors, ceiling, or prevent a trip hazard running across aisles.

Extension cords are for temporary use only.

Yes No 	N/A 	20.	Are portable electric heaters being used? If so, use a fused power strip

if necessary, and locate the heater away from combustible materials.

Yes No 	N/A 	21.	Is the paper cutter guard in place?