## Shop Inspection Checklist
UNIVERSITY OF CALIFORNIA, SAN DIEGO
|  |  | ENVIRONMENT, HEALTH & SAFETY |  |  |  |  | ¨
x
SHOPS & STUDIO SAFETY INSPECTION CHECKLIST
| DEPARTMENT: |  |  | DATE:
| LOCATION/SHOP: |  |  | BLDG/RM NO:
| SUPERVISOR: |  |  | PHONE/EMAIL:
| INSPECTOR: |  |  | JOB TITLE:
VIOLATION POINTS
Minor - 1 & 4
Major - 8 & 16
| ­ | ELECTRICAL: |  |  | Y | N | N/A
1 | ­ | All disconnects/breakers labeled - panels posted with Arc Flash warnings |  |  | ¨ | ¨ | ¨
1 | ­ | Electrical cords across walkways protected |  |  | ¨ | ¨ | ¨
4 | ­ | 36" minimum access clearance around circuit breaker panels |  |  | ¨ | ¨ | ¨
4 | ­ | Electrical cords inspected (not frayed, damaged, etc.) |  |  | ¨ | ¨ | ¨
4 | ­ | Plug/Multi tap adapters use banned |  |  | ¨ | ¨ | ¨
4 | ­ | Extension cords not used in place of fixed wiring |  |  | ¨ | ¨ | ¨
8 | ­ | Energized/live parts of equipment are secured/not exposed |  |  | ¨ | ¨ | ¨
8 | ­ | Circuits grounded/Ground pins on plugs |  |  | ¨ | ¨ | ¨
8 | ­ | Explosion proof equipment used where needed |  |  | ¨ | ¨ | ¨
8 | ­ | GFCI's in use in wet areas (bathrooms, near sinks) |  |  | ¨ | ¨ | ¨
8 | ­ | Open slots in circuit breakers panels secured |  |  | ¨ | ¨ | ¨
8 | ­ | Covers in place on receptacles, boxes, switches |  |  | ¨ | ¨ | ¨
8 | ­ | Electrical hand tools grounded or double insulated |  |  | ¨ | ¨ | ¨
8 | ­ | Equipment approved, UL/FM listed |  |  | ¨ | ¨ | ¨
8 | ­ | Spray Painting operations inside approved spray paint booths (outlets, light fixtures) |  |  | ¨ | ¨ | ¨
|  | MACHINE OPERATIONS: |  |  | Y | N | N/A
1 | ­ | Safety zones around shop equipment |  |  | ¨ | ¨ | ¨
4 | ­ | Anti-restart on woodworking machinery |  |  | ¨ | ¨ | ¨
4 | ­ | Abrasive wheels given "ring-test" |  |  | ¨ | ¨ | ¨
4 | ­ | Push-sticks provided |  |  | ¨ | ¨ | ¨
4 | ­ | Foot treadles guarded |  |  | ¨ | ¨ | ¨
4 | ­ | On/Off switch accessible w/o reaching across Point of Operations |  |  | ¨ | ¨ | ¨
4 | ­ | Air tanks >1.5 cubic ft (11.2 gal) capacity inspected/issued permit by Cal/OSHA |  |  | ¨ | ¨ | ¨
4 | ­ | Compressed air nozzles have relief ports to safely vent when orifice is blocked |  |  | ¨ | ¨ | ¨
8 | ­ | Barrier guards on moving machinery parts |  |  | ¨ | ¨ | ¨
8 | ­ | Rotating shafts guarded |  |  | ¨ | ¨ | ¨
8 | ­ | Point-of-operation (POO) & Pinch points guarded |  |  | ¨ | ¨ | ¨
8 | ­ | Fan blades adequately guarded (< 1/2" opening) |  |  | ¨ | ¨ | ¨
8 | ­ | Fixed machinery anchored to prevent movement |  |  | ¨ | ¨ | ¨
8 | ­ | Lower portion of blades guarded |  |  | ¨ | ¨ | ¨
8 | ­ | Belts/pulleys enclosed |  |  | ¨ | ¨ | ¨
8 | ­ | Bench grinders (1/8" tool rest, 1/4" tongue guard maximum clearances) |  |  | ¨ | ¨ | ¨
8 | ­ | Band saw blades guarded above guide rollers |  |  | ¨ | ¨ | ¨
8 | ­ | Jointer guards installed with auto return |  |  | ¨ | ¨ | ¨
8 | ­ | Radial arm saw blade guard/head auto return doesn't extend past end of table |  |  | ¨ | ¨ | ¨
? | ­ | Table saw-blade guard, splitter, anti-kickback |  |  | ¨ | ¨ | ¨
8 | ­ | Shop equipment have lockable disconnect |  |  | ¨ | ¨ | ¨
8 | ­ | Lockout/Tag Out used for equipment (maintenance/adjustments, repairs) |  |  | ¨ | ¨ | ¨
8 | ­ | Gas welding torches equipped with flashback arrestors |  |  | ¨ | ¨ | ¨
8 | ­ | Arc welders properly grounded |  |  | ¨ | ¨ | ¨
|  | GENERAL SAFETY/ADMINISTRATION/TRAINING: |  |  | Y | N | N/A
1 | ­ | Seismic securing of shelving equipment > 5' |  |  | ¨ | ¨ | ¨
1 | ­ | Good personal hygiene practices maintained |  |  | ¨ | ¨ | ¨
1 | ­ | Unstable storage practices/equipment |  |  | ¨ | ¨ | ¨
1 | ­ | Employees practice safe manual lifting procedures/techniques |  |  | ¨ | ¨ | ¨
1 | ­ | Hand trucks/carts available for moving heavy awkward items |  |  | ¨ | ¨ | ¨
1 | ­ | Are awkward postures assumed during work tasks |  |  | ¨ | ¨ | ¨
1 | ­ | Required literature posted (Cal-OSHA, WC, Annual Injury & Illness Summary) |  |  | ¨ | ¨ | ¨
4 | ­ | Aisles (minimum 44” pathway)/Building exit corridors clear/unobstructed |  |  | ¨ | ¨ | ¨
4 | ­ | Eyewash/Deluge Showers available where required (flushed/checked weekly) |  |  | ¨ | ¨ | ¨
4 | ­ | Personal protective equipment used and stored properly |  |  | ¨ | ¨ | ¨
4 | ­ | Appropriate fire extinguishers charged/mounted within 75’of all work stations |  |  | ¨ | ¨ | ¨
4 | ­ | Compressed gas cylinders properly stored and secured/capped |  |  | ¨ | ¨ | ¨
4 | ­ | Inspection performed of weight handling equipment (overhead cranes, hoists) |  |  | ¨ | ¨ | ¨
4 | ­ | Welding curtains used |  |  | ¨ | ¨ | ¨
4 | ­ | Space heaters have auto-tip-over switch |  |  | ¨ | ¨ | ¨
4 | ­ | Smoking in designated areas only (>25’ from entrances, buildings, etc.) |  |  | ¨ | ¨ | ¨
4 | ­ | Approved first aid kit available and its location known to all employees |  |  | ¨ | ¨ | ¨
8 | ­ | Oxygen and Acetylene cylinder storage (minimum 20’ separation) |  |  | ¨ | ¨ | ¨
|  | HAZARDOUS MATERIALS: |  |  | Y | N | N/A
1 | ­ | “No Smoking” signs posted & observed |  |  | ¨ | ¨ | ¨
1 | ­ | New/Initial hazardous materials purchases approved |  |  | ¨ | ¨ | ¨
4 | ­ | Hazardous Materials inventory list available and up to date |  |  | ¨ | ¨ | ¨
4 | ­ | Approved flammable lockers in use |  |  | ¨ | ¨ | ¨
4 | ­ | Maximum storage: Flammables 60 gal., combustible 120 gal |  |  | ¨ | ¨ | ¨
4 | ­ | Solvents >10-1 gallon containers stored in approved flammable lockers |  |  | ¨ | ¨ | ¨
4 | ­ | Manufacturer’s label affixed/not defaced |  |  | ¨ | ¨ | ¨
4 | ­ | Only 1-day supply of flammable material kept outside flame locker |  |  | ¨ | ¨ | ¨
4 | ­ | Dispensing/secondary containers labeled |  |  | ¨ | ¨ | ¨
4 | ­ | Dispensing containers bonded to prevent static electricity |  |  | ¨ | ¨ | ¨
8 | ­ | Material Safety Data Sheet (MSDS) available & accessible |  |  | ¨ | ¨ | ¨
8 | ­ | Hazardous Waste properly managed |  |  | ¨ | ¨ | ¨
8 | ­ | Ventilation equipment available & used when required |  |  | ¨ | ¨ | ¨
|  | TRAINING |  |  | Y | N | N/A
4 | ­ | Mandatory Training current/documented (IIPP, HAZCOM, EAP) |  |  | ¨ | ¨ | ¨
4 | ­ | Shop specific safety training conducted/documented as required |  |  | ¨ | ¨ | ¨
4 | ­ | Confined Space Program in place where required |  |  | ¨ | ¨ | ¨
4 | ­ | Fall Protection Program in place where required |  |  | ¨ | ¨ | ¨
4 | ­ | Forklift Safety Training in place where appropriate |  |  | ¨ | ¨ | ¨
4 | ­ | Lockout/Tag Out program in place where required |  |  | ¨ | ¨ | ¨
4 | ­ | Inspection program for power tools/extension cords |  |  | ¨ | ¨ | ¨
4 | ­ | CPR training for required workers (Electrical Trades) |  |  | ¨ | ¨ | ¨
|  | WALKING/WORKING SURFACES: |  |  | Y | N | N/A
1 | ­ | Floors clean and dry |  |  | ¨ | ¨ | ¨
1 | ­ | Storage of materials/equipment not protruding and/or cluttered |  |  | ¨ | ¨ | ¨
1 | ­ | Soiled rags/trash disposed of daily |  |  | ¨ | ¨ | ¨
4 | ­ | Stairs safe (secure rails, treads) |  |  | ¨ | ¨ | ¨
4 | ­ | Trip hazards (electrical cords, debris) not present |  |  | ¨ | ¨ | ¨
8 | ­ | Ladders safe (safe feet, inspected, tight rungs) |  |  | ¨ | ¨ | ¨
8 | ­ | Guard rails installed around floor openings, lofts and catwalks to prevent falls > 30" |  |  | ¨ | ¨ | ¨
8 | ­ | Scaffolding- >5' have top/mid rails, toe-board, mud sills, wheels locked |  |  | ¨ | ¨ | ¨
OMMITTED FROM FORM
| ­ | Compatible storage of hazardous materials |  |  | ¨ | ¨ | ¨
| ­ | Proper storage/containment/separation of acids |  | (redundant) | ¨ | ¨ | ¨
4 | ­ | Training provided (site specific) |  |  | ¨ | ¨ | ¨